## scenario_settings
input | Heerenveen - II3050 Europese Sturing
agriculture_burner_crude_oil_share | 1.5
agriculture_burner_hydrogen_share
agriculture_burner_network_gas_share | 30.5
agriculture_burner_wood_pellets_share | 3.6
agriculture_final_demand_steam_hot_water_share | 50.7
agriculture_geothermal_share | 0
agriculture_heatpump_water_water_ts_electricity_share | 13.7
agriculture_useful_demand_electricity | 1.6
agriculture_useful_demand_useable_heat
buildings_cooling_airconditioning_share
buildings_cooling_collective_heatpump_water_water_ts_electricity_share
buildings_cooling_heatpump_air_water_network_gas_share
buildings_insulation_level | 51.9
buildings_lighting_efficient_fluorescent_electricity_share | 9.8
buildings_lighting_led_electricity_share | 4.9
buildings_lighting_savings_from_daylight_control_light | 29.5
buildings_lighting_savings_from_motion_detection_light | 35.5
buildings_lighting_standard_fluorescent_electricity_share | 85.3
buildings_solar_pv_solar_radiation_market_penetration | 47.5
buildings_space_heater_collective_heatpump_water_water_ts_electricity_share | 11.7
buildings_space_heater_district_heating_steam_hot_water_share | 9
buildings_space_heater_electricity_share | 4.1
buildings_space_heater_heatpump_air_water_network_gas_share | 6.9
buildings_space_heater_network_gas_share | 66.8
buildings_space_heater_solar_thermal_share | 2.7
buildings_space_heater_wood_pellets_share | 1.5
buildings_useful_demand_cooling
buildings_useful_demand_electricity
buildings_useful_demand_for_appliances | 1.5
buildings_useful_demand_for_space_heating
bunkers_allocated_percentage_aviation
bunkers_allocated_percentage_shipping
bunkers_plane_using_bio_kerosene_share
bunkers_plane_using_kerosene_share
bunkers_ship_using_heavy_fuel_oil_share
bunkers_ship_using_lng_share
bunkers_useful_demand_planes
bunkers_useful_demand_ships
climate_relevant_co2_biomass_gas_future
climate_relevant_co2_biomass_gas_present
climate_relevant_co2_biomass_liquid_future
climate_relevant_co2_biomass_liquid_present
climate_relevant_co2_biomass_solid_future
climate_relevant_co2_biomass_solid_present
co2_emissions_of_imported_heat
co2_emissions_of_imported_hydrogen_future | 0
co2_emissions_of_imported_hydrogen_present | 0
co_firing_biocoal_share
co_firing_coal_share
costs_bio_ethanol
costs_biodiesel
costs_biogas
costs_coal | 73
costs_gas | 26
costs_greengas
costs_heat_infra_indoors
costs_heat_infra_outdoors
costs_heat_network_storage
costs_hydrogen
costs_hydrogen_storage
costs_hydrogen_transport_compressed_trucks
costs_hydrogen_transport_pipelines
costs_imported_heat
costs_industry_residual_heat
costs_infrastructure_electricity_hv_net
costs_infrastructure_electricity_interconnector_net
costs_infrastructure_electricity_lv_mv_trafo
costs_infrastructure_electricity_lv_net
costs_infrastructure_electricity_mv_hv_trafo
costs_infrastructure_electricity_mv_net
costs_infrastructure_electricity_offshore_net
costs_oil | 87
costs_uranium
costs_wacc_households
costs_wacc_proven_technologies
costs_wacc_public_infrastructure
costs_wacc_unproven_technologies
costs_wood
curtailment_of_buildings_solar_pv_solar_radiation
curtailment_of_energy_power_solar_pv_solar_radiation
curtailment_of_households_solar_pv_solar_radiation
electricity_interconnector_1_co2_emissions_future | 0
electricity_interconnector_1_export_availability
electricity_interconnector_1_import_availability
electricity_interconnector_1_marginal_costs | 51
electricity_interconnector_2_co2_emissions_future | 0
electricity_interconnector_2_co2_emissions_present | 0
electricity_interconnector_2_export_availability
electricity_interconnector_2_import_availability
electricity_interconnector_2_marginal_costs
electricity_interconnector_3_co2_emissions_future | 0
electricity_interconnector_3_co2_emissions_present | 0
electricity_interconnector_3_export_availability
electricity_interconnector_3_import_availability
electricity_interconnector_3_marginal_costs
electricity_interconnector_4_co2_emissions_future | 0
electricity_interconnector_4_co2_emissions_present | 0
electricity_interconnector_4_export_availability
electricity_interconnector_4_import_availability
electricity_interconnector_4_marginal_costs
electricity_interconnector_5_co2_emissions_future | 0
electricity_interconnector_5_co2_emissions_present | 0
electricity_interconnector_5_export_availability
electricity_interconnector_5_import_availability
electricity_interconnector_5_marginal_costs
electricity_interconnector_6_co2_emissions_future | 0
electricity_interconnector_6_co2_emissions_present | 0
electricity_interconnector_6_export_availability
electricity_interconnector_6_import_availability
electricity_interconnector_6_marginal_costs
energy_biogas_fermentation_share
energy_greengas_gasification_dry_biomass_share
energy_greengas_gasification_wet_biomass_share
energy_heat_distribution_loss_share
energy_heat_network_storage_loss_share
energy_heat_network_storage_output_capacity_share | 22.5
energy_mixer_for_gas_power_fuel_bio_oil_share
energy_mixer_for_gas_power_fuel_crude_oil_share | 0
energy_mixer_for_gas_power_fuel_natural_gas_share | 100
energy_regasification_lng_share
energy_steel_hisarna_transformation_coal_woodpellets_share
energy_transport_hydrogen_compressed_trucks_share
energy_transport_hydrogen_pipelines_share
energy_treatment_natural_gas_share
flexibility_outdoor_temperature
flh_of_energy_hydrogen_wind_turbine_offshore | 4050
flh_of_energy_power_wind_turbine_coastal | 2750
flh_of_energy_power_wind_turbine_inland | 2750
flh_of_energy_power_wind_turbine_offshore | 4050
flh_of_solar_pv_solar_radiation | 950
green_gas_total_share
heat_storage_enabled | 1
households_apartments_share
households_appliances_clothes_dryer_electricity_efficiency | 20
households_appliances_computer_media_electricity_efficiency | 10
households_appliances_dishwasher_electricity_efficiency | 20
households_appliances_fridge_freezer_electricity_efficiency | 20
households_appliances_other_electricity_efficiency | 20
households_appliances_television_electricity_efficiency | 20
households_appliances_vacuum_cleaner_electricity_efficiency | 20
households_appliances_washing_machine_electricity_efficiency | 20
households_behavior_close_windows_turn_off_heating | 30
households_behavior_low_temperature_washing | 30
households_behavior_standby_killer_turn_off_appliances | 50
households_behavior_turn_off_the_light | 50
households_cooker_halogen_electricity_share | 22.6
households_cooker_induction_electricity_share | 8.5
households_cooker_network_gas_share | 66.073
households_cooker_resistive_electricity_share
households_cooker_wood_pellets_share
households_cooling_airconditioning_electricity_share | 70.0296
households_cooling_heatpump_air_water_electricity_share | 5
households_cooling_heatpump_ground_water_electricity_share | 24.9704
households_corner_houses_share
households_detached_houses_share
households_flexibility_consumer_electricity_price
households_flexibility_consumer_gas_price
households_flexibility_p2p_electricity_market_penetration
households_flexibility_space_heating_cop_cutoff
households_flexibility_water_heating_cop_cutoff
households_heater_combined_network_gas_share | 76.7972
households_heater_district_heating_steam_hot_water_share | 6.2138
households_heater_electricity_share | 0
households_heater_heatpump_air_water_electricity_share | 3.2573
households_heater_heatpump_ground_water_electricity_share | 3.3179
households_heater_hybrid_heatpump_air_water_electricity_share | 3.1045
households_heater_hybrid_hydrogen_heatpump_air_water_electricity_share | 0
households_heater_network_gas_share | 2.7923
households_heater_wood_pellets_share | 4.5171
households_insulation_level_apartments | 31.4
households_insulation_level_corner_houses | 27.4
households_insulation_level_detached_houses | 29.4
households_insulation_level_semi_detached_houses | 31.4
households_insulation_level_terraced_houses | 31.4
households_lighting_efficient_fluorescent_electricity_share | 48.5
households_lighting_incandescent_electricity_share | 23.9614
households_lighting_led_electricity_share | 27.5386
households_semi_detached_houses_share
households_solar_pv_solar_radiation_market_penetration | 23
households_terraced_houses_share
households_useful_demand_cooking_per_person
households_useful_demand_electric_appliances | 1.2
households_useful_demand_for_cooling
households_useful_demand_heat_per_person
households_useful_demand_hot_water_share
households_useful_demand_lighting
households_water_heater_solar_thermal_share | 3.8
industry_aggregated_other_industry_coal_share | 0
industry_aggregated_other_industry_crude_oil_share | 14.3
industry_aggregated_other_industry_electricity_share | 25
industry_aggregated_other_industry_hydrogen_share | 0
industry_aggregated_other_industry_network_gas_share | 51.7
industry_aggregated_other_industry_useable_heat_share | 0.2
industry_aggregated_other_industry_wood_pellets_share | 8.8
industry_aluminium_carbothermalreduction_electricity_share
industry_aluminium_electrolysis_bat_electricity_share
industry_aluminium_electrolysis_current_electricity_share | 80
industry_aluminium_production
industry_aluminium_smeltoven_electricity_share
industry_chemicals_fertilizers_burner_coal_share
industry_chemicals_fertilizers_burner_crude_oil_share
industry_chemicals_fertilizers_burner_hydrogen_share
industry_chemicals_fertilizers_burner_network_gas_share
industry_chemicals_fertilizers_burner_wood_pellets_share
industry_chemicals_fertilizers_hydrogen_network_share
industry_chemicals_fertilizers_steam_methane_reformer_hydrogen_share
industry_chemicals_other_burner_coal_share | 0
industry_chemicals_other_burner_crude_oil_share | 51
industry_chemicals_other_burner_hydrogen_share
industry_chemicals_other_burner_network_gas_share | 22.5
industry_chemicals_other_burner_wood_pellets_share | 4.5
industry_chemicals_other_coal_non_energetic_share
industry_chemicals_other_crude_oil_non_energetic_share | 92.8
industry_chemicals_other_heater_electricity_share
industry_chemicals_other_heatpump_water_water_electricity_share
industry_chemicals_other_hydrogen_non_energetic_share
industry_chemicals_other_network_gas_non_energetic_share | 7.2
industry_chemicals_other_steam_recompression_electricity_share
industry_chemicals_other_wood_pellets_non_energetic_share
industry_chemicals_refineries_burner_coal_share
industry_chemicals_refineries_burner_crude_oil_share
industry_chemicals_refineries_burner_hydrogen_share
industry_chemicals_refineries_burner_network_gas_share
industry_chemicals_refineries_burner_wood_pellets_share
industry_final_demand_for_chemical_fertilizers_steam_hot_water_share
industry_final_demand_for_chemical_other_steam_hot_water_share | 22
industry_final_demand_for_chemical_refineries_steam_hot_water_share
industry_final_demand_for_other_food_steam_hot_water_share | 5
industry_final_demand_for_other_paper_steam_hot_water_share | 9.1
industry_other_food_burner_coal_share
industry_other_food_burner_crude_oil_share
industry_other_food_burner_hydrogen_share
industry_other_food_burner_network_gas_share | 86.8124
industry_other_food_burner_wood_pellets_share | 6.4
industry_other_food_heater_electricity_share
industry_other_metals_process_electricity_efficiency | 1.6
industry_other_metals_process_heat_useable_heat_efficiency | 1.6
industry_other_metals_production | 128
industry_other_paper_burner_coal_share
industry_other_paper_burner_crude_oil_share
industry_other_paper_burner_hydrogen_share
industry_other_paper_burner_network_gas_share | 81.8
industry_other_paper_burner_wood_pellets_share | 9.1
industry_other_paper_heater_electricity_share
industry_steel_blastfurnace_bat_consumption_useable_heat_share
industry_steel_blastfurnace_current_consumption_useable_heat_share
industry_steel_electricfurnace_electricity_share
industry_steel_hisarna_consumption_useable_heat_share
industry_steel_production | 100
industry_useful_demand_for_aggregated_other | 93.2
industry_useful_demand_for_chemical_fertilizers
industry_useful_demand_for_chemical_fertilizers_electricity_efficiency
industry_useful_demand_for_chemical_fertilizers_useable_heat_efficiency
industry_useful_demand_for_chemical_other
industry_useful_demand_for_chemical_other_electricity_efficiency | 1
industry_useful_demand_for_chemical_other_useable_heat_efficiency | 1.1
industry_useful_demand_for_chemical_refineries | 80.5
industry_useful_demand_for_chemical_refineries_electricity_efficiency
industry_useful_demand_for_chemical_refineries_useable_heat_efficiency
industry_useful_demand_for_other_food | 128
industry_useful_demand_for_other_food_efficiency | 1.6
industry_useful_demand_for_other_ict
industry_useful_demand_for_other_ict_efficiency
industry_useful_demand_for_other_paper | 128
industry_useful_demand_for_other_paper_efficiency | 1.6
investment_costs_combustion_biomass_plants
investment_costs_combustion_coal_plant
investment_costs_combustion_gas_plant
investment_costs_combustion_oil_plant
investment_costs_combustion_waste_incinerator
investment_costs_electric_cars
investment_costs_electric_heat_pumps
investment_costs_energy_flexibility_hv_opac_electricity
investment_costs_energy_flexibility_mv_batteries_electricity
investment_costs_flexibility_p2h_electricity
investment_costs_gas_heat_pumps
investment_costs_geothermal
investment_costs_households_flexibility_p2p_electricity
investment_costs_households_storage_space_heating
investment_costs_households_storage_water_heating
investment_costs_hydrogen_electrolysis
investment_costs_nuclear_nuclear_plant
investment_costs_solar_solar_panels
investment_costs_solar_thermal
investment_costs_water_river
investment_costs_wind_offshore
investment_costs_wind_onshore
max_demand_of_biogenic_waste
max_demand_of_dry_biomass
max_demand_of_oily_biomass
max_demand_of_wet_biomass
merit_order_subtype_of_energy_power_nuclear_uranium_oxide | 0
natural_gas_total_share
number_of_buildings | 1
om_costs_combustion_biomass_plant
om_costs_combustion_coal_plant
om_costs_combustion_gas_plant
om_costs_combustion_oil_plant
om_costs_combustion_waste_incinerator
om_costs_geothermal
om_costs_nuclear_nuclear_plant
om_costs_solar_thermal
om_costs_water_river
om_costs_wind_offshore
om_costs_wind_onshore
other_useful_demand_electricity
other_useful_demand_non_energetic
other_useful_demand_useable_heat
settings_enable_merit_order
settings_satisfy_export_with_dispatchables | 1
settings_weather_curve_set
share_of_industry_chemicals_fertilizers_reused_residual_heat
share_of_industry_chemicals_other_reused_residual_heat
share_of_industry_chemicals_refineries_reused_residual_heat
share_of_industry_other_ict_reused_residual_heat
technical_solar_pv_efficiency | 21.9
transport_bicycle_using_electricity_share | 31.1
transport_bicycle_using_human_power_share | 68.9
transport_bicycles_share | 7.3363
transport_bus_using_compressed_natural_gas_share | 5.1651
transport_bus_using_diesel_mix_share | 34.6879
transport_bus_using_electricity_share | 53.8
transport_bus_using_gasoline_mix_share
transport_bus_using_hydrogen_share | 6.2
transport_bus_using_lng_share
transport_busses_share | 4.2
transport_car_using_compressed_natural_gas_share | 0.1171
transport_car_using_diesel_mix_share | 9.6706
transport_car_using_electricity_availability
transport_car_using_electricity_fast_charging_share
transport_car_using_electricity_home_charging_share
transport_car_using_electricity_hybrid_charging_share
transport_car_using_electricity_regular_charging_share
transport_car_using_electricity_share | 10
transport_car_using_electricity_smart_charging_share
transport_car_using_gasoline_mix_share | 78.9295
transport_car_using_hydrogen_share | 0
transport_car_using_lpg_share | 1.2827
transport_cars_share | 75.5
transport_freight_train_using_diesel_mix_share
transport_freight_train_using_electricity_share
transport_freight_trains_share | 6.8
transport_motorcycle_using_electricity_share | 2.2
transport_motorcycle_using_gasoline_mix_share | 97.8
transport_motorcycles_share | 2.6
transport_passenger_train_using_coal_share
transport_passenger_train_using_diesel_mix_share
transport_passenger_train_using_electricity_share
transport_passenger_trains_share | 9.8
transport_plane_using_bio_ethanol_share
transport_plane_using_gasoline_share | 0
transport_plane_using_kerosene_share | 100
transport_planes_efficiency | 0
transport_planes_share
transport_rail_mixer_diesel_biodiesel_share
transport_rail_mixer_diesel_diesel_share
transport_road_mixer_diesel_biodiesel_share | 11.5
transport_road_mixer_diesel_diesel_share | 88.5
transport_road_mixer_gasoline_ethanol_share | 6.5
transport_road_mixer_gasoline_gasoline_share | 93.5
transport_road_mixer_lng_bio_lng_share
transport_road_mixer_lng_lng_share
transport_ship_using_diesel_mix_share | 99
transport_ship_using_lng_mix_share | 1
transport_shipping_mixer_diesel_bio_lng_share
transport_shipping_mixer_diesel_biodiesel_share
transport_shipping_mixer_diesel_diesel_share
transport_shipping_mixer_diesel_heavy_fuel_oil_share
transport_shipping_mixer_diesel_lng_share
transport_shipping_mixer_lng_bio_lng_share
transport_shipping_mixer_lng_lng_share
transport_ships_efficiency | 0
transport_ships_share | 42.4
transport_trains_efficiency | 0
transport_trams_share | 0.5
transport_truck_using_compressed_natural_gas_share
transport_truck_using_diesel_mix_share | 94.9254
transport_truck_using_electricity_share | 3.9123
transport_truck_using_gasoline_mix_share
transport_truck_using_hydrogen_share
transport_truck_using_lng_mix_share
transport_trucks_share | 50.8
transport_useful_demand_freight_tonne_kms | 2.7
transport_useful_demand_passenger_kms | 1
transport_vehicle_combustion_engine_efficiency | 0.6
transport_vehicle_using_electricity_efficiency | 1
transport_vehicle_using_hydrogen_efficiency | 1.7
volume_of_imported_heat
change_in_energetic_emissions_other_ghg_agriculture | 0
change_in_energetic_emissions_other_ghg_buildings | 0
change_in_energetic_emissions_other_ghg_energy | 0
change_in_energetic_emissions_other_ghg_households | 0
change_in_energetic_emissions_other_ghg_industry | 0
change_in_energetic_emissions_other_ghg_transport | 0
change_in_indirect_emissions_co2 | 0
change_in_non_energetic_emissions_co2_agriculture_manure | 0
change_in_non_energetic_emissions_co2_agriculture_soil_cultivation | 0
change_in_non_energetic_emissions_co2_chemical_industry | 0
change_in_non_energetic_emissions_co2_other_industry | 0
change_in_non_energetic_emissions_co2_waste_management | 0
change_in_non_energetic_emissions_other_ghg_agriculture_fermentation | 0
change_in_non_energetic_emissions_other_ghg_agriculture_manure | 0
change_in_non_energetic_emissions_other_ghg_agriculture_other | 0
change_in_non_energetic_emissions_other_ghg_agriculture_soil_cultivation | 0
change_in_non_energetic_emissions_other_ghg_chemical_industry | 0
change_in_non_energetic_emissions_other_ghg_other_industry | 0
change_in_non_energetic_emissions_other_ghg_waste_management | 0
fuel_production_coal | 0
fuel_production_crude_oil | 0
fuel_production_natural_gas | 0
fuel_production_uranium_oxide | 0

## adopter
template
|  |  |  | 833357 |  |  | Heerenveen - II3050 Europese Sturing
Vraag/Aanbod | Sector | Toepassing | Slider input key | Slider setting template | Unit | Adopt slider setting? | Slider setting new scenario
Demand | Agriculture energy demand | Heat | agriculture_burner_crude_oil_share | 1.5 | % | TRUE | 1.5
Demand | Agriculture energy demand | Heat | agriculture_burner_hydrogen_share |  | % | TRUE
Demand | Agriculture energy demand | Heat | agriculture_burner_network_gas_share | 30.5 | % | TRUE | 30.5
Demand | Agriculture energy demand | Heat | agriculture_burner_wood_pellets_share | 3.6 | % | TRUE | 3.6
Demand | Agriculture energy demand | Heat | agriculture_final_demand_steam_hot_water_share | 50.7 | % | TRUE | 50.7
Demand | Agriculture energy demand | Heat | agriculture_geothermal_share | 0 | % | TRUE | 0
Demand | Agriculture energy demand | Heat | agriculture_heatpump_water_water_ts_electricity_share | 13.7 | % | TRUE | 13.7
Demand | Agriculture energy demand | Demand growth | agriculture_useful_demand_electricity | 1.6 | % | TRUE | 1.6
Demand | Agriculture energy demand | Demand growth | agriculture_useful_demand_useable_heat |  | % | TRUE
Demand | Energy demand non-residential buildings | Cooling | buildings_cooling_airconditioning_share |  | % | TRUE
Demand | Energy demand non-residential buildings | Cooling | buildings_cooling_collective_heatpump_water_water_ts_electricity_share |  | % | TRUE
Demand | Energy demand non-residential buildings | Cooling | buildings_cooling_heatpump_air_water_network_gas_share |  | % | TRUE
Demand | Energy demand non-residential buildings | Insulation | buildings_insulation_level | 51.9 | % | TRUE | 51.9
Demand | Energy demand non-residential buildings | Lighting | buildings_lighting_efficient_fluorescent_electricity_share | 9.8 | % | TRUE | 9.8
Demand | Energy demand non-residential buildings | Lighting | buildings_lighting_led_electricity_share | 4.9 | % | TRUE | 4.9
Demand | Energy demand non-residential buildings | Lighting | buildings_lighting_savings_from_daylight_control_light | 29.5 | % | TRUE | 29.5
Demand | Energy demand non-residential buildings | Lighting | buildings_lighting_savings_from_motion_detection_light | 35.5 | % | TRUE | 35.5
Demand | Energy demand non-residential buildings | Lighting | buildings_lighting_standard_fluorescent_electricity_share | 85.3 | % | TRUE | 85.3
Demand | Energy demand non-residential buildings | Solar panels | buildings_solar_pv_solar_radiation_market_penetration | 47.5 | % | TRUE | 47.5
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_collective_heatpump_water_water_ts_electricity_share | 11.7 | % | TRUE | 11.7
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_district_heating_steam_hot_water_share | 9 | % | TRUE | 9
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_electricity_share | 4.1 | % | TRUE | 4.1
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_heatpump_air_water_network_gas_share | 6.9 | % | TRUE | 6.9
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_network_gas_share | 66.8 | % | TRUE | 66.8
Demand | Energy demand non-residential buildings | Solar panels | buildings_space_heater_solar_thermal_share | 2.7 | % | TRUE | 2.7
Demand | Energy demand non-residential buildings | Space heating | buildings_space_heater_wood_pellets_share | 1.5 | % | TRUE | 1.5
Demand | Energy demand non-residential buildings | Demand growth | buildings_useful_demand_cooling |  | % | TRUE
Demand | Energy demand non-residential buildings | Demand growth | buildings_useful_demand_electricity |  | % | TRUE
Demand | Energy demand non-residential buildings | Appliances | buildings_useful_demand_for_appliances | 1.5 | % | TRUE | 1.5
Demand | Energy demand non-residential buildings | Demand growth | buildings_useful_demand_for_space_heating |  | % | TRUE
Demand | International transport | International transport | bunkers_allocated_percentage_aviation |  | % | TRUE
Demand | International transport | International transport | bunkers_allocated_percentage_shipping |  | % | TRUE
Supply | Transport fuels | International aviation | bunkers_plane_using_bio_kerosene_share |  | % | TRUE
Supply | Transport fuels | International aviation | bunkers_plane_using_kerosene_share |  | % | TRUE
Demand | International transport | International navigation technology | bunkers_ship_using_heavy_fuel_oil_share |  | % | TRUE
Demand | International transport | International navigation technology | bunkers_ship_using_lng_share |  | % | TRUE
Demand | International transport | Mobility growth | bunkers_useful_demand_planes |  | % | TRUE
Demand | International transport | Mobility growth | bunkers_useful_demand_ships |  | % | TRUE
Supply | Electricity | Gas plants | capacity_of_energy_chp_combined_cycle_network_gas | 655 | MW | FALSE
Supply | Renewable electricity | Biomass plants | capacity_of_energy_chp_local_engine_biogas | 90 | MW | FALSE
Supply | Electricity | Gas plants | capacity_of_energy_chp_local_engine_network_gas | 2624.4 | MW | FALSE
Supply | Renewable electricity | Biomass plants | capacity_of_energy_chp_local_wood_pellets | 32 | MW | FALSE
Supply | Renewable electricity | Waste power | capacity_of_energy_chp_supercritical_waste_mix | 607 | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_chp_ultra_supercritical_coal | 0 | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_chp_ultra_supercritical_cofiring_coal | 0 | MW | FALSE
Flexibility | Electricity storage | Electricity storage | capacity_of_energy_flexibility_hv_opac_electricity |  | MW | FALSE
Flexibility | Electricity storage | Electricity storage | capacity_of_energy_flexibility_mv_batteries_electricity |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_burner_hydrogen |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_burner_network_gas | 0 | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_burner_waste_mix |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_burner_wood_pellets | 0 | MW | FALSE
Flexibility | Electricity conversion | Conversion to heat for district heating | capacity_of_energy_heat_flexibility_p2h_boiler_electricity |  | MW | FALSE
Flexibility | Electricity conversion | Conversion to heat for district heating | capacity_of_energy_heat_flexibility_p2h_heatpump_electricity |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_heatpump_water_water_electricity |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_solar_thermal |  | MW | FALSE
Supply | District heating | Heat sources | capacity_of_energy_heat_well_geothermal | 787 | MW | FALSE
Supply | Hydrogen | Hydrogen production | capacity_of_energy_hydrogen_biomass_gasification |  | MW | FALSE
Flexibility | Electricity conversion | Conversion to hydrogen | capacity_of_energy_hydrogen_flexibility_p2g_electricity |  | MW | FALSE
Supply | Hydrogen | Hydrogen production | capacity_of_energy_hydrogen_solar_pv_solar_radiation |  | MW | FALSE
Supply | Hydrogen | Hydrogen production | capacity_of_energy_hydrogen_steam_methane_reformer |  | MW | FALSE
Supply | Hydrogen | Hydrogen production | capacity_of_energy_hydrogen_wind_turbine_offshore |  | MW | FALSE
Supply | Hydrogen | Hydrogen production | capacity_of_energy_imported_hydrogen_baseload |  | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_power_combined_cycle_coal |  | MW | FALSE
Supply | Renewable electricity | Hydrogen plants | capacity_of_energy_power_combined_cycle_hydrogen |  | MW | FALSE
Supply | Electricity | Gas plants | capacity_of_energy_power_combined_cycle_network_gas | 6550 | MW | FALSE
Supply | Electricity | Oil plants | capacity_of_energy_power_engine_diesel |  | MW | FALSE
Supply | Electricity | Gas plants | capacity_of_energy_power_engine_network_gas |  | MW | FALSE
Supply | Renewable electricity | Geothermal | capacity_of_energy_power_geothermal |  | MW | FALSE
Supply | Renewable electricity | Hydro electric | capacity_of_energy_power_hydro_river | 44 | MW | FALSE
Supply | Electricity | Nuclear plants | capacity_of_energy_power_nuclear_gen2_uranium_oxide | 484 | MW | FALSE
Supply | Electricity | Nuclear plants | capacity_of_energy_power_nuclear_gen3_uranium_oxide |  | MW | FALSE
Supply | Renewable electricity | Solar power | capacity_of_energy_power_solar_pv_solar_radiation | 8187 | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_power_supercritical_coal | 0 | MW | FALSE
Supply | Renewable electricity | Waste power | capacity_of_energy_power_supercritical_waste_mix |  | MW | FALSE
Supply | Renewable electricity | Hydrogen plants | capacity_of_energy_power_turbine_hydrogen |  | MW | FALSE
Supply | Electricity | Gas plants | capacity_of_energy_power_turbine_network_gas | 217 | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_power_ultra_supercritical_coal | 0 | MW | FALSE
Supply | Electricity | Coal plants | capacity_of_energy_power_ultra_supercritical_cofiring_coal | 0 | MW | FALSE
Supply | Electricity | Oil plants | capacity_of_energy_power_ultra_supercritical_crude_oil |  | MW | FALSE
Supply | Electricity | Gas plants | capacity_of_energy_power_ultra_supercritical_network_gas | 144 | MW | FALSE
Supply | Renewable electricity | Wind turbines | capacity_of_energy_power_wind_turbine_coastal | 0 | MW | FALSE
Supply | Renewable electricity | Wind turbines | capacity_of_energy_power_wind_turbine_inland | 6111 | MW | FALSE
Supply | Renewable electricity | Wind turbines | capacity_of_energy_power_wind_turbine_offshore | 11914 | MW | FALSE
Demand | Industry energy demand | Chemicals | capacity_of_industry_chemicals_other_flexibility_p2h_electricity |  | MW | FALSE
Demand | Industry energy demand | Refineries | capacity_of_industry_chemicals_refineries_flexibility_p2h_electricity |  | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_chp_combined_cycle_gas_power_fuelmix | 1910 | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_chp_engine_gas_power_fuelmix | 32 | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_chp_turbine_gas_power_fuelmix | 1416 | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_chp_ultra_supercritical_coal | 442 | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_chp_wood_pellets |  | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_heat_burner_coal |  | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_heat_burner_crude_oil | 0 | MW | FALSE
Demand | Industry energy demand | Heat network sources | capacity_of_industry_heat_well_geothermal | 40 | MW | FALSE
Demand | Industry energy demand | Food | capacity_of_industry_other_food_flexibility_p2h_electricity |  | MW | FALSE
Demand | Industry energy demand | Paper | capacity_of_industry_other_paper_flexibility_p2h_electricity |  | MW | FALSE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_gas_future |  | % | TRUE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_gas_present |  | % | TRUE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_liquid_future |  | % | TRUE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_liquid_present |  | % | TRUE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_solid_future |  | % | TRUE
Supply | Biomass | CO<sub>2</sub> emissions of biomass | climate_relevant_co2_biomass_solid_present |  | % | TRUE
Supply | District heating | Heat sources | co2_emissions_of_imported_heat |  | kg/GJ | TRUE
Supply | Hydrogen | CO<sub>2</sub> emissions of imported hydrogen | co2_emissions_of_imported_hydrogen_future | 0 | kg/MWh | TRUE | 0
Supply | Hydrogen | CO<sub>2</sub> emissions of imported hydrogen | co2_emissions_of_imported_hydrogen_present | 0 | kg/MWh | TRUE | 0
Supply | Biomass | Biocoal and bio-oil in energy plants | co_firing_biocoal_share |  | % | TRUE
Supply | Biomass | Biocoal and bio-oil in energy plants | co_firing_coal_share |  | % | TRUE
Costs | Fuel prices | Biofuels | costs_bio_ethanol |  | ‚Ç¨/liter | TRUE
Costs | Fuel prices | Biofuels | costs_biodiesel |  | ‚Ç¨/liter | TRUE
Costs | Fuel prices | Biofuels | costs_biogas |  | ‚Ç¨/MWh | TRUE
Costs | Fuel prices | Fossil fuels | costs_coal | 73 | $/tonne | TRUE | 73
Costs | Fuel prices | Fossil fuels | costs_gas | 26 | ‚Ç¨/MWh | TRUE | 26
Costs | Fuel prices | Biofuels | costs_greengas |  | ‚Ç¨/MWh | TRUE
Costs | Heat | District heating infrastructure | costs_heat_infra_indoors |  | % | TRUE
Costs | Heat | District heating infrastructure | costs_heat_infra_outdoors |  | % | TRUE
Costs | Heat | District heating infrastructure | costs_heat_network_storage |  | ‚Ç¨/MWh | TRUE
Costs | Hydrogen costs | Hydrogen import | costs_hydrogen |  | ‚Ç¨/MWh | TRUE
Costs | Hydrogen costs | Hydrogen storage | costs_hydrogen_storage |  | ‚Ç¨/MWh | TRUE
Costs | Hydrogen costs | Hydrogen transport | costs_hydrogen_transport_compressed_trucks |  | ‚Ç¨/MWh | TRUE
Costs | Hydrogen costs | Hydrogen transport | costs_hydrogen_transport_pipelines |  | ‚Ç¨/MWh | TRUE
Costs | Heat | Residual heat | costs_imported_heat |  | ‚Ç¨/GJ | TRUE
Costs | Heat | Residual heat | costs_industry_residual_heat |  | % | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_hv_net |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_interconnector_net |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_lv_mv_trafo |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_lv_net |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_mv_hv_trafo |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_mv_net |  | ‚Ç¨/kW | TRUE
Costs | Infrastructure costs | Electricity infrastructure costs | costs_infrastructure_electricity_offshore_net |  | ‚Ç¨/kW | TRUE
Costs | Fuel prices | Fossil fuels | costs_oil | 87 | $/barrel | TRUE | 87
Costs | Fuel prices | Nuclear fuels | costs_uranium |  | ‚Ç¨/kg | TRUE
Costs | Weighted average cost of capital (WACC) | Weighted average cost of capital (WACC) | costs_wacc_households |  | % | TRUE
Costs | Weighted average cost of capital (WACC) | Weighted average cost of capital (WACC) | costs_wacc_proven_technologies |  | % | TRUE
Costs | Weighted average cost of capital (WACC) | Weighted average cost of capital (WACC) | costs_wacc_public_infrastructure |  | % | TRUE
Costs | Weighted average cost of capital (WACC) | Weighted average cost of capital (WACC) | costs_wacc_unproven_technologies |  | % | TRUE
Costs | Fuel prices | Biofuels | costs_wood |  | ‚Ç¨/Tonne | TRUE
Flexibility | Load on electricity network | Curtailment - solar PV | curtailment_of_buildings_solar_pv_solar_radiation |  | % | TRUE
Flexibility | Load on electricity network | Curtailment - solar PV | curtailment_of_energy_power_solar_pv_solar_radiation |  | % | TRUE
Flexibility | Load on electricity network | Curtailment - solar PV | curtailment_of_households_solar_pv_solar_radiation |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_capacity | 5000 | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_co2_emissions_present | 0 | g/kWh | FALSE
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 1 | electricity_interconnector_1_marginal_costs | 51 | ‚Ç¨/MWh | TRUE | 51
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_capacity | 3400 | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_co2_emissions_present | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 2 | electricity_interconnector_2_marginal_costs |  | ‚Ç¨/MWh | TRUE
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_capacity | 1000 | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_co2_emissions_present | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 3 | electricity_interconnector_3_marginal_costs |  | ‚Ç¨/MWh | TRUE
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_capacity | 700 | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_co2_emissions_present | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 4 | electricity_interconnector_4_marginal_costs |  | ‚Ç¨/MWh | TRUE
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_capacity | 700 | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_co2_emissions_present | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 5 | electricity_interconnector_5_marginal_costs |  | ‚Ç¨/MWh | TRUE
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_capacity |  | MW | FALSE
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_co2_emissions_future | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_co2_emissions_present | 0 | g/kWh | TRUE | 0
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_export_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_import_availability |  | % | TRUE
Flexibility | Import and export of electricity | Interconnector 6 | electricity_interconnector_6_marginal_costs |  | ‚Ç¨/MWh | TRUE
Supply | Biomass | Green gas production | energy_biogas_fermentation_share |  | % | TRUE
Supply | Biomass | Green gas production | energy_greengas_gasification_dry_biomass_share |  | % | TRUE
Supply | Biomass | Green gas production | energy_greengas_gasification_wet_biomass_share |  | % | TRUE
Supply | District heating | Transport and distribution losses | energy_heat_distribution_loss_share |  | % | TRUE
Supply | District heating | (Seasonal) storage of heat | energy_heat_network_storage_loss_share |  | % | TRUE
Supply | District heating | (Seasonal) storage of heat | energy_heat_network_storage_output_capacity_share | 22.5 | % | TRUE | 22.5
Results & data | Visuals | Energy Mix infographic | energy_mix_capacity_per_unit_wind_turbine_inland |  | MW | FALSE
Supply | Biomass | Biocoal and bio-oil in energy plants | energy_mixer_for_gas_power_fuel_bio_oil_share |  | % | TRUE
Supply | Biomass | Biocoal and bio-oil in energy plants | energy_mixer_for_gas_power_fuel_crude_oil_share | 0 | % | TRUE | 0
Supply | Biomass | Biocoal and bio-oil in energy plants | energy_mixer_for_gas_power_fuel_natural_gas_share | 100 | % | TRUE | 100
Supply | Biomass | (Green) gas in gas network | energy_regasification_lng_share |  | % | TRUE
Demand | Industry energy demand | Steel | energy_steel_hisarna_transformation_coal_woodpellets_share |  | % | TRUE
Supply | Hydrogen | Hydrogen transport | energy_transport_hydrogen_compressed_trucks_share |  | % | TRUE
Supply | Hydrogen | Hydrogen transport | energy_transport_hydrogen_pipelines_share |  | % | TRUE
Supply | Biomass | (Green) gas in gas network | energy_treatment_natural_gas_share |  | % | TRUE
Flexibility | Weather conditions | Extreme weather conditions | flexibility_outdoor_temperature |  | degC | TRUE
Flexibility | Weather conditions | Extreme weather conditions | flh_of_energy_hydrogen_wind_turbine_offshore | 4050 | # | TRUE | 4050
Flexibility | Weather conditions | Extreme weather conditions | flh_of_energy_power_wind_turbine_coastal | 2750 | # | TRUE | 2750
Flexibility | Weather conditions | Extreme weather conditions | flh_of_energy_power_wind_turbine_inland | 2750 | # | TRUE | 2750
Flexibility | Weather conditions | Extreme weather conditions | flh_of_energy_power_wind_turbine_offshore | 4050 | # | TRUE | 4050
Flexibility | Weather conditions | Extreme weather conditions | flh_of_solar_pv_solar_radiation | 950 | # | TRUE | 950
Supply | Biomass | (Green) gas in gas network | green_gas_total_share |  | % | TRUE
Supply | District heating | (Seasonal) storage of heat | heat_storage_enabled | 1 | boolean | TRUE | 1
Demand | Household energy demand | Population & housing stock | households_apartments_share |  | % | TRUE
Demand | Household energy demand | Appliances | households_appliances_clothes_dryer_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_computer_media_electricity_efficiency | 10 | % | TRUE | 10
Demand | Household energy demand | Appliances | households_appliances_dishwasher_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_fridge_freezer_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_other_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_television_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_vacuum_cleaner_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Appliances | households_appliances_washing_machine_electricity_efficiency | 20 | % | TRUE | 20
Demand | Household energy demand | Behavior | households_behavior_close_windows_turn_off_heating | 30 | % | TRUE | 30
Demand | Household energy demand | Behavior | households_behavior_low_temperature_washing | 30 | % | TRUE | 30
Demand | Household energy demand | Behavior | households_behavior_standby_killer_turn_off_appliances | 50 | % | TRUE | 50
Demand | Household energy demand | Behavior | households_behavior_turn_off_the_light | 50 | % | TRUE | 50
Demand | Household energy demand | Cooking | households_cooker_halogen_electricity_share | 22.6 | % | TRUE | 22.6
Demand | Household energy demand | Cooking | households_cooker_induction_electricity_share | 8.5 | % | TRUE | 8.5
Demand | Household energy demand | Cooking | households_cooker_network_gas_share | 66.073 | % | TRUE | 66.073
Demand | Household energy demand | Cooking | households_cooker_resistive_electricity_share |  | % | TRUE
Demand | Household energy demand | Cooking | households_cooker_wood_pellets_share |  | % | TRUE
Demand | Household energy demand | Cooling | households_cooling_airconditioning_electricity_share | 70.0296 | % | TRUE | 70.0296
Demand | Household energy demand | Cooling | households_cooling_heatpump_air_water_electricity_share | 5 | % | TRUE | 5
Demand | Household energy demand | Cooling | households_cooling_heatpump_ground_water_electricity_share | 24.9704 | % | TRUE | 24.9704
Demand | Household energy demand | Population & housing stock | households_corner_houses_share |  | % | TRUE
Demand | Household energy demand | Population & housing stock | households_detached_houses_share |  | % | TRUE
Flexibility | Load on electricity network | Demand response - behavior of hybrid heat pumps | households_flexibility_consumer_electricity_price |  | ct/kWh | TRUE
Flexibility | Load on electricity network | Demand response - behavior of hybrid heat pumps | households_flexibility_consumer_gas_price |  | ct/m3 | TRUE
Flexibility | Electricity storage | Electricity storage | households_flexibility_p2p_electricity_market_penetration |  | % | TRUE
Flexibility | Load on electricity network | Demand response - behavior of hybrid heat pumps | households_flexibility_space_heating_cop_cutoff |  | # | TRUE
Flexibility | Load on electricity network | Demand response - behavior of hybrid heat pumps | households_flexibility_water_heating_cop_cutoff |  | # | TRUE
Demand | Household energy demand | Space heating & hot water | households_heater_combined_network_gas_share | 76.7972 | % | TRUE | 76.7972
Demand | Household energy demand | Space heating & hot water | households_heater_district_heating_steam_hot_water_share | 6.2138 | % | TRUE | 6.2138
Demand | Household energy demand | Space heating & hot water | households_heater_electricity_share | 0 | % | TRUE | 0
Demand | Household energy demand | Space heating & hot water | households_heater_heatpump_air_water_electricity_share | 3.2573 | % | TRUE | 3.2573
Demand | Household energy demand | Space heating & hot water | households_heater_heatpump_ground_water_electricity_share | 3.3179 | % | TRUE | 3.3179
Demand | Household energy demand | Space heating & hot water | households_heater_hybrid_heatpump_air_water_electricity_share | 3.1045 | % | TRUE | 3.1045
Demand | Household energy demand | Space heating & hot water | households_heater_hybrid_hydrogen_heatpump_air_water_electricity_share | 0 | % | TRUE | 0
Demand | Household energy demand | Space heating & hot water | households_heater_network_gas_share | 2.7923 | % | TRUE | 2.7923
Demand | Household energy demand | Space heating & hot water | households_heater_wood_pellets_share | 4.5171 | % | TRUE | 4.5171
Demand | Household energy demand | Insulation | households_insulation_level_apartments | 31.4 | % | TRUE | 31.4
Demand | Household energy demand | Insulation | households_insulation_level_corner_houses | 27.4 | % | TRUE | 27.4
Demand | Household energy demand | Insulation | households_insulation_level_detached_houses | 29.4 | % | TRUE | 29.4
Demand | Household energy demand | Insulation | households_insulation_level_semi_detached_houses | 31.4 | % | TRUE | 31.4
Demand | Household energy demand | Insulation | households_insulation_level_terraced_houses | 31.4 | % | TRUE | 31.4
Demand | Household energy demand | Lighting | households_lighting_efficient_fluorescent_electricity_share | 48.5 | % | TRUE | 48.5
Demand | Household energy demand | Lighting | households_lighting_incandescent_electricity_share | 23.9614 | % | TRUE | 23.9614
Demand | Household energy demand | Lighting | households_lighting_led_electricity_share | 27.5386 | % | TRUE | 27.5386
Demand | Household energy demand | Population & housing stock | households_number_of_inhabitants | 18.5 | mln | FALSE
Demand | Household energy demand | Population & housing stock | households_number_of_residences | 7900000 | # | FALSE
Demand | Household energy demand | Population & housing stock | households_semi_detached_houses_share |  | % | TRUE
Demand | Household energy demand | Solar panels | households_solar_pv_solar_radiation_market_penetration | 23 | % | TRUE | 23
Demand | Household energy demand | Population & housing stock | households_terraced_houses_share |  | % | TRUE
Demand | Household energy demand | Prosperity | households_useful_demand_cooking_per_person |  | % | TRUE
Demand | Household energy demand | Prosperity | households_useful_demand_electric_appliances | 1.2 | % | TRUE | 1.2
Demand | Household energy demand | Prosperity | households_useful_demand_for_cooling |  | % | TRUE
Demand | Household energy demand | Prosperity | households_useful_demand_heat_per_person |  | % | TRUE
Demand | Household energy demand | Prosperity | households_useful_demand_hot_water_share |  | % | TRUE
Demand | Household energy demand | Prosperity | households_useful_demand_lighting |  | % | TRUE
Demand | Household energy demand | Solar panels | households_water_heater_solar_thermal_share | 3.8 | % | TRUE | 3.8
Demand | Industry energy demand | Other | industry_aggregated_other_industry_coal_share | 0 | % | TRUE | 0
Demand | Industry energy demand | Other | industry_aggregated_other_industry_crude_oil_share | 14.3 | % | TRUE | 14.3
Demand | Industry energy demand | Other | industry_aggregated_other_industry_electricity_share | 25 | % | TRUE | 25
Demand | Industry energy demand | Other | industry_aggregated_other_industry_hydrogen_share | 0 | % | TRUE | 0
Demand | Industry energy demand | Other | industry_aggregated_other_industry_network_gas_share | 51.7 | % | TRUE | 51.7
Demand | Industry energy demand | Other | industry_aggregated_other_industry_useable_heat_share | 0.2 | % | TRUE | 0.2
Demand | Industry energy demand | Other | industry_aggregated_other_industry_wood_pellets_share | 8.8 | % | TRUE | 8.8
Demand | Industry energy demand | Aluminium | industry_aluminium_carbothermalreduction_electricity_share |  | % | TRUE
Demand | Industry energy demand | Aluminium | industry_aluminium_electrolysis_bat_electricity_share |  | % | TRUE
Demand | Industry energy demand | Aluminium | industry_aluminium_electrolysis_current_electricity_share | 80 | % | TRUE | 80
Demand | Industry energy demand | Aluminium | industry_aluminium_production |  | % | TRUE
Demand | Industry energy demand | Aluminium | industry_aluminium_smeltoven_electricity_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_burner_coal_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_burner_crude_oil_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_burner_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_burner_network_gas_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_burner_wood_pellets_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_hydrogen_network_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_chemicals_fertilizers_steam_methane_reformer_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_burner_coal_share | 0 | % | TRUE | 0
Demand | Industry energy demand | Chemicals | industry_chemicals_other_burner_crude_oil_share | 51 | % | TRUE | 51
Demand | Industry energy demand | Chemicals | industry_chemicals_other_burner_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_burner_network_gas_share | 22.5 | % | TRUE | 22.5
Demand | Industry energy demand | Chemicals | industry_chemicals_other_burner_wood_pellets_share | 4.5 | % | TRUE | 4.5
Demand | Industry energy demand | Chemicals | industry_chemicals_other_coal_non_energetic_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_crude_oil_non_energetic_share | 92.8 | % | TRUE | 92.8
Demand | Industry energy demand | Chemicals | industry_chemicals_other_heater_electricity_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_heatpump_water_water_electricity_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_hydrogen_non_energetic_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_network_gas_non_energetic_share | 7.2 | % | TRUE | 7.2
Demand | Industry energy demand | Chemicals | industry_chemicals_other_steam_recompression_electricity_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_chemicals_other_wood_pellets_non_energetic_share |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_chemicals_refineries_burner_coal_share |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_chemicals_refineries_burner_crude_oil_share |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_chemicals_refineries_burner_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_chemicals_refineries_burner_network_gas_share |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_chemicals_refineries_burner_wood_pellets_share |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_final_demand_for_chemical_fertilizers_steam_hot_water_share |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_final_demand_for_chemical_other_steam_hot_water_share | 22 | % | TRUE | 22
Demand | Industry energy demand | Refineries | industry_final_demand_for_chemical_refineries_steam_hot_water_share |  | % | TRUE
Demand | Industry energy demand | Food | industry_final_demand_for_other_food_steam_hot_water_share | 5 | % | TRUE | 5
Demand | Industry energy demand | Paper | industry_final_demand_for_other_paper_steam_hot_water_share | 9.1 | % | TRUE | 9.1
Demand | Industry energy demand | Food | industry_other_food_burner_coal_share |  | % | TRUE
Demand | Industry energy demand | Food | industry_other_food_burner_crude_oil_share |  | % | TRUE
Demand | Industry energy demand | Food | industry_other_food_burner_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Food | industry_other_food_burner_network_gas_share | 86.8124 | % | TRUE | 86.8124
Demand | Industry energy demand | Food | industry_other_food_burner_wood_pellets_share | 6.4 | % | TRUE | 6.4
Demand | Industry energy demand | Food | industry_other_food_heater_electricity_share |  | % | TRUE
Demand | Industry energy demand | Other metals | industry_other_metals_process_electricity_efficiency | 1.6 | % | TRUE | 1.6
Demand | Industry energy demand | Other metals | industry_other_metals_process_heat_useable_heat_efficiency | 1.6 | % | TRUE | 1.6
Demand | Industry energy demand | Other metals | industry_other_metals_production | 128 | % | TRUE | 128
Demand | Industry energy demand | Paper | industry_other_paper_burner_coal_share |  | % | TRUE
Demand | Industry energy demand | Paper | industry_other_paper_burner_crude_oil_share |  | % | TRUE
Demand | Industry energy demand | Paper | industry_other_paper_burner_hydrogen_share |  | % | TRUE
Demand | Industry energy demand | Paper | industry_other_paper_burner_network_gas_share | 81.8 | % | TRUE | 81.8
Demand | Industry energy demand | Paper | industry_other_paper_burner_wood_pellets_share | 9.1 | % | TRUE | 9.1
Demand | Industry energy demand | Paper | industry_other_paper_heater_electricity_share |  | % | TRUE
Demand | Industry energy demand | Steel | industry_steel_blastfurnace_bat_consumption_useable_heat_share |  | % | TRUE
Demand | Industry energy demand | Steel | industry_steel_blastfurnace_current_consumption_useable_heat_share |  | % | TRUE
Demand | Industry energy demand | Steel | industry_steel_electricfurnace_electricity_share |  | % | TRUE
Demand | Industry energy demand | Steel | industry_steel_hisarna_consumption_useable_heat_share |  | % | TRUE
Demand | Industry energy demand | Steel | industry_steel_production | 100 | % | TRUE | 100
Demand | Industry energy demand | Other | industry_useful_demand_for_aggregated_other | 93.2 | % | TRUE | 93.2
Demand | Industry energy demand | Fertilizers | industry_useful_demand_for_chemical_fertilizers |  | % | TRUE
Demand | Industry energy demand | Fertilizers | industry_useful_demand_for_chemical_fertilizers_electricity_efficiency |  | %/year | TRUE
Demand | Industry energy demand | Fertilizers | industry_useful_demand_for_chemical_fertilizers_useable_heat_efficiency |  | %/year | TRUE
Demand | Industry energy demand | Chemicals | industry_useful_demand_for_chemical_other |  | % | TRUE
Demand | Industry energy demand | Chemicals | industry_useful_demand_for_chemical_other_electricity_efficiency | 1 | %/year | TRUE | 1
Demand | Industry energy demand | Chemicals | industry_useful_demand_for_chemical_other_useable_heat_efficiency | 1.1 | %/year | TRUE | 1.1
Demand | Industry energy demand | Refineries | industry_useful_demand_for_chemical_refineries | 80.5 | % | TRUE | 80.5
Demand | Industry energy demand | Refineries | industry_useful_demand_for_chemical_refineries_electricity_efficiency |  | % | TRUE
Demand | Industry energy demand | Refineries | industry_useful_demand_for_chemical_refineries_useable_heat_efficiency |  | % | TRUE
Demand | Industry energy demand | Food | industry_useful_demand_for_other_food | 128 | % | TRUE | 128
Demand | Industry energy demand | Food | industry_useful_demand_for_other_food_efficiency | 1.6 | % | TRUE | 1.6
Demand | Industry energy demand | Central ICT | industry_useful_demand_for_other_ict |  | % | TRUE
Demand | Industry energy demand | Central ICT | industry_useful_demand_for_other_ict_efficiency |  | % | TRUE
Demand | Industry energy demand | Paper | industry_useful_demand_for_other_paper | 128 | % | TRUE | 128
Demand | Industry energy demand | Paper | industry_useful_demand_for_other_paper_efficiency | 1.6 | % | TRUE | 1.6
Costs | Combustion plants costs | Investment | investment_costs_combustion_biomass_plants |  | % | TRUE
Costs | Combustion plants costs | Investment | investment_costs_combustion_coal_plant |  | % | TRUE
Costs | Combustion plants costs | Investment | investment_costs_combustion_gas_plant |  | % | TRUE
Costs | Combustion plants costs | Investment | investment_costs_combustion_oil_plant |  | % | TRUE
Costs | Combustion plants costs | Investment | investment_costs_combustion_waste_incinerator |  | % | TRUE
Costs | Transport | Investments electric cars | investment_costs_electric_cars |  | euro | TRUE
Costs | Heat | Heat pumps | investment_costs_electric_heat_pumps |  | % | TRUE
Costs | Flexibility costs | Investment costs storage electricity | investment_costs_energy_flexibility_hv_opac_electricity |  | % | TRUE
Costs | Flexibility costs | Investment costs storage electricity | investment_costs_energy_flexibility_mv_batteries_electricity |  | % | TRUE
Costs | Flexibility costs | Investment costs conversion electricity | investment_costs_flexibility_p2h_electricity |  | % | TRUE
Costs | Heat | Heat pumps | investment_costs_gas_heat_pumps |  | % | TRUE
Costs | Heat | Geothermal | investment_costs_geothermal |  | % | TRUE
Costs | Flexibility costs | Investment costs storage electricity | investment_costs_households_flexibility_p2p_electricity |  | % | TRUE
Costs | Heat | Heat pumps | investment_costs_households_storage_space_heating |  | ‚Ç¨/kWh | TRUE
Costs | Heat | Heat pumps | investment_costs_households_storage_water_heating |  | ‚Ç¨/kWh | TRUE
Costs | Flexibility costs | Investment costs conversion electricity | investment_costs_hydrogen_electrolysis |  | % | TRUE
Costs | Nuclear plants costs | Investment | investment_costs_nuclear_nuclear_plant |  | % | TRUE
Costs | Solar power | Investment | investment_costs_solar_solar_panels |  | % | TRUE
Costs | Heat | Solar thermal | investment_costs_solar_thermal |  | % | TRUE
Costs | Water power costs | Investment | investment_costs_water_river |  | % | TRUE
Costs | Wind power costs | Investment | investment_costs_wind_offshore |  | % | TRUE
Costs | Wind power costs | Investment | investment_costs_wind_onshore |  | % | TRUE
Supply | Biomass | Potential of biomass | max_demand_of_biogenic_waste |  | PJ | TRUE
Supply | Biomass | Potential of biomass | max_demand_of_dry_biomass |  | PJ | TRUE
Supply | Biomass | Potential of biomass | max_demand_of_oily_biomass |  | PJ | TRUE
Supply | Biomass | Potential of biomass | max_demand_of_wet_biomass |  | PJ | TRUE
Supply | Electricity | Nuclear plants | merit_order_subtype_of_energy_power_nuclear_uranium_oxide | 0 | boolean | TRUE | 0
Supply | Biomass | (Green) gas in gas network | natural_gas_total_share |  | % | TRUE
Demand | Energy demand non-residential buildings | Demand growth | number_of_buildings | 1 | % | TRUE | 1
Costs | Combustion plants costs | Operations and maintenance | om_costs_combustion_biomass_plant |  | % | TRUE
Costs | Combustion plants costs | Operations and maintenance | om_costs_combustion_coal_plant |  | % | TRUE
Costs | Combustion plants costs | Operations and maintenance | om_costs_combustion_gas_plant |  | % | TRUE
Costs | Combustion plants costs | Operations and maintenance | om_costs_combustion_oil_plant |  | % | TRUE
Costs | Combustion plants costs | Operations and maintenance | om_costs_combustion_waste_incinerator |  | % | TRUE
Costs | Heat | Geothermal | om_costs_geothermal |  | % | TRUE
Costs | Nuclear plants costs | Operations and maintenance | om_costs_nuclear_nuclear_plant |  | % | TRUE
Costs | Heat | Solar thermal | om_costs_solar_thermal |  | % | TRUE
Costs | Water power costs | Operations and maintenance | om_costs_water_river |  | % | TRUE
Costs | Wind power costs | Operations and maintenance | om_costs_wind_offshore |  | % | TRUE
Costs | Wind power costs | Operations and maintenance | om_costs_wind_onshore |  | % | TRUE
Demand | Energy demand other users | Demand growth | other_useful_demand_electricity |  | % | TRUE
Demand | Energy demand other users | Demand growth | other_useful_demand_non_energetic |  | % | TRUE
Demand | Energy demand other users | Demand growth | other_useful_demand_useable_heat |  | % | TRUE
Costs | Merit order | Merit order | settings_enable_merit_order |  | boolean | TRUE
Flexibility | Import and export of electricity | Electricity interconnectors | settings_satisfy_export_with_dispatchables | 1 | boolean | TRUE | 1
Flexibility | Weather conditions | Extreme weather conditions | settings_weather_curve_set |  | weather-curves | TRUE
Supply | District heating | Heat sources | share_of_industry_chemicals_fertilizers_reused_residual_heat |  | % | TRUE
Supply | District heating | Heat sources | share_of_industry_chemicals_other_reused_residual_heat |  | % | TRUE
Supply | District heating | Heat sources | share_of_industry_chemicals_refineries_reused_residual_heat |  | % | TRUE
Supply | District heating | Heat sources | share_of_industry_other_ict_reused_residual_heat |  | % | TRUE
Costs | Solar power | Solar PV technology | technical_solar_pv_efficiency | 21.9 | % | TRUE | 21.9
Demand | Passenger transport | Bicycle technology | transport_bicycle_using_electricity_share | 31.1 | % | TRUE | 31.1
Demand | Passenger transport | Bicycle technology | transport_bicycle_using_human_power_share | 68.9 | % | TRUE | 68.9
Demand | Passenger transport | Applications | transport_bicycles_share | 7.3363 | % | TRUE | 7.3363
Demand | Passenger transport | Bus technology | transport_bus_using_compressed_natural_gas_share | 5.1651 | % | TRUE | 5.1651
Demand | Passenger transport | Bus technology | transport_bus_using_diesel_mix_share | 34.6879 | % | TRUE | 34.6879
Demand | Passenger transport | Bus technology | transport_bus_using_electricity_share | 53.8 | % | TRUE | 53.8
Demand | Passenger transport | Bus technology | transport_bus_using_gasoline_mix_share |  | % | TRUE
Demand | Passenger transport | Bus technology | transport_bus_using_hydrogen_share | 6.2 | % | TRUE | 6.2
Demand | Passenger transport | Bus technology | transport_bus_using_lng_share |  | % | TRUE
Demand | Passenger transport | Applications | transport_busses_share | 4.2 | % | TRUE | 4.2
Demand | Passenger transport | Car technology | transport_car_using_compressed_natural_gas_share | 0.1171 | % | TRUE | 0.1171
Demand | Passenger transport | Car technology | transport_car_using_diesel_mix_share | 9.6706 | % | TRUE | 9.6706
Flexibility | Electricity storage | Electricity storage | transport_car_using_electricity_availability |  | % | TRUE
Flexibility | Load on electricity network | Demand response - electric vehicles | transport_car_using_electricity_fast_charging_share |  | % | TRUE
Flexibility | Load on electricity network | Demand response - electric vehicles | transport_car_using_electricity_home_charging_share |  | % | TRUE
Flexibility | Load on electricity network | Demand response - electric vehicles | transport_car_using_electricity_hybrid_charging_share |  | % | TRUE
Flexibility | Load on electricity network | Demand response - electric vehicles | transport_car_using_electricity_regular_charging_share |  | % | TRUE
Demand | Passenger transport | Car technology | transport_car_using_electricity_share | 10 | % | TRUE | 10
Flexibility | Load on electricity network | Demand response - electric vehicles | transport_car_using_electricity_smart_charging_share |  | % | TRUE
Demand | Passenger transport | Car technology | transport_car_using_gasoline_mix_share | 78.9295 | % | TRUE | 78.9295
Demand | Passenger transport | Car technology | transport_car_using_hydrogen_share | 0 | % | TRUE | 0
Demand | Passenger transport | Car technology | transport_car_using_lpg_share | 1.2827 | % | TRUE | 1.2827
Demand | Passenger transport | Applications | transport_cars_share | 75.5 | % | TRUE | 75.5
Demand | Freight transport | Train technology | transport_freight_train_using_diesel_mix_share |  | % | TRUE
Demand | Freight transport | Train technology | transport_freight_train_using_electricity_share |  | % | TRUE
Demand | Freight transport | Applications | transport_freight_trains_share | 6.8 | % | TRUE | 6.8
Demand | Passenger transport | Motorcycle technology | transport_motorcycle_using_electricity_share | 2.2 | % | TRUE | 2.2
Demand | Passenger transport | Motorcycle technology | transport_motorcycle_using_gasoline_mix_share | 97.8 | % | TRUE | 97.8
Demand | Passenger transport | Applications | transport_motorcycles_share | 2.6 | % | TRUE | 2.6
Demand | Passenger transport | Train technology | transport_passenger_train_using_coal_share |  | % | TRUE
Demand | Passenger transport | Train technology | transport_passenger_train_using_diesel_mix_share |  | % | TRUE
Demand | Passenger transport | Train technology | transport_passenger_train_using_electricity_share |  | % | TRUE
Demand | Passenger transport | Applications | transport_passenger_trains_share | 9.8 | % | TRUE | 9.8
Demand | Passenger transport | Domestic aviation technology | transport_plane_using_bio_ethanol_share |  | % | TRUE
Demand | Passenger transport | Domestic aviation technology | transport_plane_using_gasoline_share | 0 | % | TRUE | 0
Demand | Passenger transport | Domestic aviation technology | transport_plane_using_kerosene_share | 100 | % | TRUE | 100
Demand | Transport | Efficiency improvement | transport_planes_efficiency | 0 | % | TRUE | 0
Demand | Passenger transport | Applications | transport_planes_share |  | % | TRUE
Supply | Transport fuels | Rail transport | transport_rail_mixer_diesel_biodiesel_share |  | % | TRUE
Supply | Transport fuels | Rail transport | transport_rail_mixer_diesel_diesel_share |  | % | TRUE
Supply | Transport fuels | Road transport | transport_road_mixer_diesel_biodiesel_share | 11.5 | % | TRUE | 11.5
Supply | Transport fuels | Road transport | transport_road_mixer_diesel_diesel_share | 88.5 | % | TRUE | 88.5
Supply | Transport fuels | Road transport | transport_road_mixer_gasoline_ethanol_share | 6.5 | % | TRUE | 6.5
Supply | Transport fuels | Road transport | transport_road_mixer_gasoline_gasoline_share | 93.5 | % | TRUE | 93.5
Supply | Transport fuels | Road transport | transport_road_mixer_lng_bio_lng_share |  | % | TRUE
Supply | Transport fuels | Road transport | transport_road_mixer_lng_lng_share |  | % | TRUE
Demand | Freight transport | Domestic navigation technology | transport_ship_using_diesel_mix_share | 99 | % | TRUE | 99
Demand | Freight transport | Domestic navigation technology | transport_ship_using_lng_mix_share | 1 | % | TRUE | 1
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_diesel_bio_lng_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_diesel_biodiesel_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_diesel_diesel_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_diesel_heavy_fuel_oil_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_diesel_lng_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_lng_bio_lng_share |  | % | TRUE
Supply | Transport fuels | Domestic navigation | transport_shipping_mixer_lng_lng_share |  | % | TRUE
Demand | Transport | Efficiency improvement | transport_ships_efficiency | 0 | % | TRUE | 0
Demand | Freight transport | Applications | transport_ships_share | 42.4 | % | TRUE | 42.4
Demand | Transport | Efficiency improvement | transport_trains_efficiency | 0 | % | TRUE | 0
Demand | Passenger transport | Applications | transport_trams_share | 0.5 | % | TRUE | 0.5
Demand | Freight transport | Truck technology | transport_truck_using_compressed_natural_gas_share |  | % | TRUE
Demand | Freight transport | Truck technology | transport_truck_using_diesel_mix_share | 94.9254 | % | TRUE | 94.9254
Demand | Freight transport | Truck technology | transport_truck_using_electricity_share | 3.9123 | % | TRUE | 3.9123
Demand | Freight transport | Truck technology | transport_truck_using_gasoline_mix_share |  | % | TRUE
Demand | Freight transport | Truck technology | transport_truck_using_hydrogen_share |  | % | TRUE
Demand | Freight transport | Truck technology | transport_truck_using_lng_mix_share |  | % | TRUE
Demand | Freight transport | Applications | transport_trucks_share | 50.8 | % | TRUE | 50.8
Demand | Freight transport | Applications | transport_useful_demand_freight_tonne_kms | 2.7 | % | TRUE | 2.7
Demand | Passenger transport | Applications | transport_useful_demand_passenger_kms | 1 | % | TRUE | 1
Demand | Transport | Efficiency improvement | transport_vehicle_combustion_engine_efficiency | 0.6 | % | TRUE | 0.6
Demand | Transport | Efficiency improvement | transport_vehicle_using_electricity_efficiency | 1 | % | TRUE | 1
Demand | Transport | Efficiency improvement | transport_vehicle_using_hydrogen_efficiency | 1.7 | % | TRUE | 1.7
Supply | District heating | Heat sources | volume_of_imported_heat |  | PJ | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_energetic_emissions_other_ghg_agriculture |  | % | TRUE
Emissions | Greenhouse gases | Built Environment | change_in_energetic_emissions_other_ghg_buildings |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_energetic_emissions_other_ghg_energy |  | % | TRUE
Emissions | Greenhouse gases | Built Environment | change_in_energetic_emissions_other_ghg_households |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_energetic_emissions_other_ghg_industry |  | % | TRUE
Emissions | Greenhouse gases | Transport | change_in_energetic_emissions_other_ghg_transport |  | % | TRUE
Emissions | Greenhouse gases | Indirect emissions | change_in_indirect_emissions_co2 |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_co2_agriculture_manure |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_co2_agriculture_soil_cultivation |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_co2_chemical_industry |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_co2_other_industry |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_co2_waste_management |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_other_ghg_agriculture_fermentation |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_other_ghg_agriculture_manure |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_other_ghg_agriculture_other |  | % | TRUE
Emissions | Greenhouse gases | Agriculture | change_in_non_energetic_emissions_other_ghg_agriculture_soil_cultivation |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_other_ghg_chemical_industry |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_other_ghg_other_industry |  | % | TRUE
Emissions | Greenhouse gases | Industry and Energy | change_in_non_energetic_emissions_other_ghg_waste_management |  | % | TRUE
Supply | Future production of primary carriers | Future production of primary carriers | fuel_production_coal |  | PJ | TRUE
Supply | Future production of primary carriers | Future production of primary carriers | fuel_production_crude_oil |  | PJ | TRUE
Supply | Future production of primary carriers | Future production of primary carriers | fuel_production_natural_gas |  | PJ | TRUE
Supply | Future production of primary carriers | Future production of primary carriers | fuel_production_uranium_oxide |  | PJ | TRUE

## template_settings
| KEV2020 | II3050 Europese sturing
| 833357 | 892324
industry_chemicals_other_hydrogen_non_energetic_share |  | 0
transport_busses_share | 4.2 | 6.9
industry_other_food_heater_electricity_share |  | 40
om_costs_geothermal |  | -39
electricity_interconnector_5_co2_emissions_future | 0
share_of_industry_chemicals_other_reused_residual_heat |  | 0
flh_of_energy_power_wind_turbine_coastal | 2750 | 3000
heat_storage_enabled | 1 | 1
households_insulation_level_semi_detached_houses | 31.4 | 27
capacity_of_energy_power_ultra_supercritical_cofiring_coal | 0 | 0
om_costs_nuclear_nuclear_plant |  | 0
capacity_of_energy_power_supercritical_waste_mix |  | 0
industry_chemicals_other_burner_network_gas_share | 22.5 | 0
households_appliances_vacuum_cleaner_electricity_efficiency | 20 | 10
electricity_interconnector_4_co2_emissions_future | 0
wtp_of_households_flexibility_p2p_electricity |  | 45
industry_other_food_burner_crude_oil_share |  | 0
investment_costs_combustion_gas_plant |  | 0.13351
industry_chemicals_other_coal_non_energetic_share |  | 0
buildings_heat_network_connection_steam_hot_water_share |  | 14
transport_rail_mixer_diesel_biodiesel_share |  | 100
bunkers_allocated_percentage_aviation |  | 0
electricity_interconnector_4_co2_emissions_present | 0
bunkers_useful_demand_ships |  | 0
capacity_of_energy_power_geothermal |  | 0
industry_other_paper_burner_hydrogen_share |  | 50
share_of_energy_power_combined_cycle_ccs_coal |  | 0
wtp_of_industry_other_food_flexibility_p2h_electricity |  | 45
industry_chemicals_fertilizers_burner_wood_pellets_share |  | 0
flexibility_p2l_co2_reduction_bunkers |  | 100
industry_chemicals_fertilizers_burner_network_gas_share |  | 0
households_appliances_computer_media_electricity_efficiency | 10 | 10
households_cooker_halogen_electricity_share | 22.6 | 0
wtp_of_energy_flexibility_pumped_storage_electricity |  | 45
transport_car_using_electricity_fast_charging_share |  | 0
max_demand_of_wet_biomass |  | 200
capacity_of_energy_heat_burner_coal |  | 0
costs_ccs_per_ton_in_industry |  | 50
industry_chemicals_fertilizers_hydrogen_network_share |  | 100
households_cooling_heatpump_air_water_electricity_share | 5 | 20
energy_mixer_for_gas_power_fuel_natural_gas_share | 100 | 0
om_costs_wind_offshore |  | -77.6161
volume_of_imported_heat |  | 0
industry_final_demand_for_chemical_other_steam_hot_water_share | 22 | 13
om_costs_combustion_coal_plant |  | 0
transport_ships_efficiency | 0 | 0.4
capacity_of_energy_power_wind_turbine_offshore | 11914 | 30000
transport_passenger_trains_share | 9.8 | 11.5
electricity_interconnector_3_capacity | 1000
industry_chemicals_other_steam_recompression_electricity_share |  | 0
flexibility_p2l_direct_air_capture |  | 20
buildings_solar_pv_solar_radiation_market_penetration | 47.5 | 40
households_useful_demand_hot_water_share |  | 0
om_costs_wind_onshore |  | -63.8646
transport_cars_share | 75.5 | 70.6
capacity_of_flexibility_p2l_electricity |  | 0
buildings_cooling_collective_heatpump_water_water_ts_electricity_share |  | 25
households_heater_hybrid_heatpump_air_water_electricity_share | 3.1045 | 40
industry_final_demand_for_chemical_refineries_steam_hot_water_share |  | 0
capacity_of_energy_chp_local_engine_biogas | 90 | 0
households_terraced_houses_share |  | 29.6
households_cooker_network_gas_share | 66.073 | 0
capacity_of_energy_heat_solar_thermal |  | 1160
households_heater_combined_network_gas_share | 76.7972 | 0
transport_truck_using_electricity_share | 3.9123 | 25
capacity_of_energy_power_ultra_supercritical_ccs_coal |  | 0
flh_of_energy_power_wind_turbine_offshore | 4050 | 4500
capacity_of_energy_hydrogen_biomass_gasification |  | 0
investment_costs_water_river |  | -4
transport_useful_demand_passenger_kms | 1 | 1.25
transport_passenger_train_using_electricity_share |  | 100
buildings_useful_demand_electricity |  | 1
share_of_energy_hydrogen_steam_methane_reformer_ccs |  | 100
capacity_of_energy_heat_burner_wood_pellets | 0 | 678
costs_oil | 87 | 53
households_semi_detached_houses_share |  | 8.8
investment_costs_energy_flexibility_mv_batteries_electricity |  | 0
investment_costs_energy_flexibility_hv_opac_electricity |  | 0
industry_other_food_burner_wood_pellets_share | 6.4 | 0
capacity_of_energy_power_supercritical_coal | 0 | 0
costs_co2 | 46 | 160
capacity_of_energy_power_turbine_network_gas | 217 | 19000
households_heater_electricity_share | 0 | 0
households_flexibility_water_heating_buffer_size_hybrid_heatpump_air_water_electricity |  | 0
industry_chemicals_fertilizers_burner_crude_oil_share |  | 0
capacity_of_energy_heat_burner_network_gas | 0 | 3000.0938
co2_emissions_of_imported_heat |  | 0
transport_bus_using_lng_share |  | 0
industry_aggregated_other_industry_crude_oil_share | 14.3 | 0
capacity_of_energy_power_hydro_river | 44 | 37
households_insulation_level_terraced_houses | 31.4 | 27
buildings_collective_chp_network_gas_share |  | 0
biodiesel_from_waste_fats_share |  | 90
buildings_cooling_airconditioning_share |  | 75
industry_chemicals_other_crude_oil_non_energetic_share | 92.8 | 100
costs_bio_ethanol |  | 1.2
industry_steel_cyclonefurnace_bof_wood_pellets_share |  | 0
wtp_of_transport_car_flexibility_p2p_electricity |  | 45
electricity_interconnector_5_capacity | 700
technical_solar_pv_efficiency | 21.9
costs_hydrogen_storage |  | 3.4
capacity_of_energy_heat_burner_waste_mix |  | 114
investment_costs_households_storage_space_heating |  | 155
investment_costs_electric_cars |  | 0
transport_plane_using_gasoline_share | 0 | 0
households_useful_demand_lighting |  | 0
investment_costs_solar_solar_panels |  | -68.0827
buildings_appliances_network_gas_share_both |  | 0
other_useful_demand_non_energetic |  | 1
industry_useful_demand_for_other_food_efficiency | 1.6 | 1.2
households_insulation_level_corner_houses | 27.4 | 27
industry_steel_cyclonefurnace_bof_share |  | 0
households_flexibility_space_heating_buffer_size_hybrid_heatpump_air_water_electricity |  | 0
transport_bus_using_compressed_natural_gas_share | 5.1651 | 0
agriculture_burner_wood_pellets_share | 3.6 | 10
transport_truck_using_diesel_mix_share | 94.9254 | 0
capacity_of_energy_heat_flexibility_p2h_boiler_electricity |  | 0
industry_other_paper_burner_network_gas_share | 81.8 | 0
capacity_of_energy_heat_heatpump_water_water_electricity |  | 1860
energy_heat_network_storage_output_capacity_share | 22.5 | 50
merit_order_subtype_of_energy_power_nuclear_uranium_oxide | 0
buildings_space_heater_network_gas_share | 66.8 | 0
bunkers_allocated_percentage_shipping |  | 0
transport_passenger_train_using_coal_share |  | 0
costs_coal | 73 | 55
co_firing_biocoal_share |  | 100
households_flexibility_space_heating_cop_cutoff |  | 2.6
investment_costs_households_storage_water_heating |  | 51
buildings_appliances_electricity_share_both |  | 100
transport_motorcycle_using_gasoline_mix_share | 97.8 | 50
capacity_of_energy_chp_supercritical_waste_mix | 607 | 726
households_corner_houses_share |  | 12.9
industry_useful_demand_for_chemical_other_useable_heat_efficiency | 1.1 | 1
capacity_of_energy_power_wind_turbine_inland | 6111 | 10000
households_heater_hybrid_hydrogen_heatpump_air_water_electricity_share | 0 | 20
households_insulation_level_detached_houses | 29.4 | 27
costs_biogas |  | 45
electricity_interconnector_1_export_availability |  | 100
share_of_industry_other_paper_captured_co2 |  | 0
capacity_of_energy_power_ultra_supercritical_coal | 0 | 0
capacity_of_energy_hydrogen_steam_methane_reformer_ccs |  | 13000
industry_useful_demand_for_chemical_fertilizers_electricity_efficiency |  | 1
transport_bus_using_diesel_mix_share | 34.6879 | 0
capacity_of_industry_other_food_flexibility_p2h_electricity |  | 250
costs_wacc_public_infrastructure |  | 3
households_appliances_dishwasher_electricity_efficiency | 20 | 10
buildings_space_heater_solar_thermal_share | 2.7 | 40
industry_aluminium_smeltoven_electricity_share |  | 25
agriculture_geothermal_share | 0 | 40
capacity_of_industry_chp_turbine_gas_power_fuelmix | 1416 | 0
capacity_of_industry_chemicals_refineries_flexibility_p2h_electricity |  | 750
wtp_of_industry_chemicals_other_flexibility_p2h_electricity |  | 45
industry_useful_demand_for_chemical_fertilizers_useable_heat_efficiency |  | 1
settings_heat_curve_set |  | 0
max_demand_of_dry_biomass |  | 50
capacity_of_energy_power_ultra_supercritical_crude_oil |  | 0
transport_car_using_electricity_share | 10 | 70
transport_road_mixer_diesel_biodiesel_share | 11.5 | 100
transport_useful_demand_freight_tonne_kms | 2.7 | 1
transport_planes_share |  | 0.1
industry_other_metals_process_heat_useable_heat_efficiency | 1.6 | 1
households_appliances_television_electricity_efficiency | 20 | 10
capacity_of_energy_chp_combined_cycle_network_gas | 655 | 0
industry_chemicals_other_burner_crude_oil_share | 51 | 0
transport_ship_using_diesel_mix_share | 99 | 0
climate_relevant_co2_biomass_liquid_present |  | 0
flexibility_p2l_point_source_co2 |  | 60
buildings_useful_demand_cooling |  | 0
transport_shipping_mixer_diesel_bio_lng_share |  | 100
industry_final_demand_for_other_paper_steam_hot_water_share | 9.1 | 10
flh_of_energy_hydrogen_wind_turbine_offshore | 4050 | 4500
households_behavior_close_windows_turn_off_heating | 30 | 0
costs_heat_infra_indoors |  | 100
industry_useful_demand_for_other_ict |  | 700
capacity_of_energy_power_ultra_supercritical_network_gas | 144 | 0
investment_costs_electric_heat_pumps |  | -49
transport_freight_train_using_diesel_mix_share |  | 0
costs_wacc_households |  | 3
households_behavior_turn_off_the_light | 50 | 50
industry_aluminium_production |  | 145.1
investment_costs_geothermal |  | -88.3928
households_cooker_resistive_electricity_share |  | 0
buildings_useful_demand_for_appliances | 1.5
transport_car_using_diesel_mix_share | 9.6706 | 0
om_costs_combustion_gas_plant |  | 0
flexibility_outdoor_temperature |  | 0.6
energy_biogas_fermentation_share |  | 50
households_apartments_share |  | 35.3
capacity_of_energy_heat_well_geothermal | 787 | 197
energy_transport_hydrogen_compressed_trucks_share |  | 1
investment_costs_co2_ccs |  | -66.3462
capacity_of_energy_power_wind_turbine_coastal | 0 | 0
households_appliances_other_electricity_efficiency | 20 | 10
industry_other_metals_production | 128 | 0
bunkers_plane_using_kerosene_share |  | 0
costs_hydrogen_transport_pipelines |  | 1.6
capacity_of_industry_chp_ultra_supercritical_coal | 442 | 0
industry_chemicals_other_wood_pellets_non_energetic_share |  | 0
capacity_of_industry_heat_burner_crude_oil | 0 | 0
buildings_space_heater_electricity_share | 4.1 | 0
transport_vehicle_combustion_engine_efficiency | 0.6 | 0.4
investment_costs_combustion_coal_plant |  | 0
industry_chemicals_other_heatpump_water_water_electricity_share |  | 0
industry_useful_demand_for_aggregated_other | 93.2 | 156.9
transport_car_using_electricity_hybrid_charging_share |  | 0
energy_treatment_natural_gas_share |  | 100
investment_costs_gas_heat_pumps |  | 0
households_number_of_inhabitants | 18.5 | 18.4
agriculture_useful_demand_useable_heat |  | -1
households_appliances_washing_machine_electricity_efficiency | 20 | 10
electricity_interconnector_1_co2_emissions_future | 0 | 0
households_heater_network_gas_share | 2.7923 | 0
households_behavior_low_temperature_washing | 30 | 50
capacity_of_energy_hydrogen_flexibility_p2g_electricity |  | 19000
share_of_industry_other_ict_reused_residual_heat |  | 0
wtp_of_energy_heat_flexibility_p2h_boiler_electricity |  | 45
industry_useful_demand_for_chemical_other_electricity_efficiency | 1 | 1
transport_bicycles_share | 7.3363 | 7.7
industry_chemicals_other_burner_coal_share | 0 | 0
households_lighting_led_electricity_share | 27.5386 | 90
electricity_interconnector_2_capacity | 3400
transport_vehicle_using_hydrogen_efficiency | 1.7 | 0.2
transport_car_using_compressed_natural_gas_share | 0.1171 | 0
bio_ethanol_from_wheat_share |  | 45.7
industry_useful_demand_for_other_food | 128 | 145.1
transport_shipping_mixer_diesel_biodiesel_share |  | 0
demand_of_molecules_other_utilisation_co2 |  | 0
biodiesel_from_rape_seed_share |  | 10
industry_useful_demand_for_other_ict_efficiency |  | 3
households_heater_wood_pellets_share | 4.5171 | 0
investment_costs_combustion_biomass_plants |  | -31.8182
industry_other_food_burner_network_gas_share | 86.8124 | 25
industry_chemicals_refineries_burner_wood_pellets_share |  | 20
capacity_of_energy_heat_flexibility_p2h_heatpump_electricity |  | 0
transport_rail_mixer_diesel_diesel_share |  | 0
flh_of_energy_power_wind_turbine_inland | 2750 | 3000
share_of_industry_chemicals_refineries_reused_residual_heat |  | 0
investment_costs_combustion_oil_plant |  | 0
share_of_industry_other_food_captured_co2 |  | 0
transport_car_using_lpg_share | 1.2827 | 0
industry_steel_scrap_hbi_eaf_share |  | 20
flh_of_solar_pv_solar_radiation | 950 | 867
buildings_lighting_savings_from_daylight_control_light | 29.5 | 95
capacity_of_energy_power_solar_pv_solar_radiation | 8187 | 34588
capacity_of_energy_heat_burner_hydrogen |  | 793
transport_bus_using_hydrogen_share | 6.2 | 30
investment_costs_flexibility_p2h_electricity |  | 1.6949
electricity_interconnector_1_marginal_costs | 51 | 50
bunkers_plane_using_bio_kerosene_share |  | 100
households_cooker_wood_pellets_share |  | 0
transport_car_using_electricity_regular_charging_share |  | 0
households_insulation_level_apartments | 31.4 | 27
transport_bus_using_gasoline_mix_share |  | 0
industry_aggregated_other_industry_useable_heat_share | 0.2 | 0
industry_aluminium_electrolysis_bat_electricity_share |  | 75
costs_heat_infra_outdoors |  | 100
electricity_interconnector_1_capacity | 5000 | 14800
buildings_appliances_coal_share_both |  | 0
buildings_space_heater_collective_heatpump_water_water_ts_electricity_share | 11.7 | 25
transport_bus_using_electricity_share | 53.8 | 70
costs_uranium |  | 69.1
costs_greengas |  | 50
energy_greengas_gasification_wet_biomass_share |  | 50
flexibility_p2l_point_source_co |  | 20
capacity_of_industry_other_paper_flexibility_p2h_electricity |  | 250
om_costs_combustion_biomass_plant |  | -84.456
electricity_interconnector_3_co2_emissions_future | 0
industry_useful_demand_for_chemical_refineries | 80.5 | 40
capacity_of_energy_hydrogen_solar_pv_solar_radiation |  | 0
households_flexibility_p2p_electricity_market_penetration |  | 20
capacity_of_industry_heat_well_geothermal | 40 | 163.7437
capacity_of_energy_flexibility_pumped_storage_electricity |  | 0
wtp_of_industry_other_paper_flexibility_p2h_electricity |  | 45
industry_aggregated_other_industry_hydrogen_share | 0 | 30
transport_planes_efficiency | 0 | 0.8
wtp_of_energy_hydrogen_flexibility_p2g_electricity |  | 45
buildings_lighting_standard_fluorescent_electricity_share | 85.3 | 0
transport_car_using_electricity_home_charging_share |  | 0
transport_truck_using_compressed_natural_gas_share |  | 25
co2_emissions_of_imported_hydrogen_present | 0 | 0
households_useful_demand_for_cooling |  | 0
industry_chemicals_refineries_burner_crude_oil_share |  | 0
agriculture_burner_hydrogen_share |  | 0
industry_other_food_burner_coal_share |  | 0
capacity_of_energy_power_combined_cycle_ccs_network_gas |  | 5600
bio_ethanol_from_corn_share |  | 33.4
other_useful_demand_useable_heat |  | 1
efficiency_energy_power_solar_pv_solar_radiation |  | 24
industry_other_paper_burner_coal_share |  | 0
capacity_of_energy_hydrogen_steam_methane_reformer |  | 13000
buildings_cooling_heatpump_air_water_network_gas_share |  | 0
climate_relevant_co2_biomass_liquid_future |  | 0
transport_trains_efficiency | 0 | 0.1
investment_costs_wind_offshore |  | -74.3721
transport_freight_trains_share | 6.8
buildings_space_heater_wood_pellets_share | 1.5 | 0
electricity_interconnector_4_capacity | 700
bunkers_ship_using_heavy_fuel_oil_share |  | 0
electricity_interconnector_2_co2_emissions_future | 0
transport_road_mixer_lng_bio_lng_share |  | 100
investment_costs_nuclear_nuclear_plant |  | 25
capacity_of_industry_chp_engine_gas_power_fuelmix | 32 | 0
om_costs_combustion_oil_plant |  | 0
om_costs_water_river |  | 121.875
costs_infrastructure_electricity_mv_hv_trafo |  | 250
capacity_of_energy_power_engine_diesel |  | 0
energy_regasification_lng_share |  | 0
industry_chemicals_other_burner_wood_pellets_share | 4.5 | 0
industry_chemicals_other_burner_hydrogen_share |  | 60
households_appliances_fridge_freezer_electricity_efficiency | 20 | 10
energy_mixer_for_gas_power_fuel_crude_oil_share | 0 | 0
curtailment_of_energy_power_solar_pv_solar_radiation |  | 33
number_of_buildings | 1 | 0.2
capacity_of_industry_heat_burner_coal |  | 0
industry_aluminium_carbothermalreduction_electricity_share |  | 0
households_useful_demand_heat_per_person |  | 0
agriculture_burner_network_gas_share | 30.5 | 0
transport_motorcycle_using_electricity_share | 2.2 | 50
capacity_of_industry_chp_combined_cycle_gas_power_fuelmix | 1910 | 0
share_of_energy_power_combined_cycle_ccs_network_gas |  | 10.8527
capacity_of_industry_chemicals_other_flexibility_p2h_electricity |  | 750
industry_chemicals_refineries_burner_coal_share |  | 0
industry_final_demand_for_chemical_fertilizers_steam_hot_water_share |  | 0
curtailment_of_households_solar_pv_solar_radiation |  | 33
wtp_of_energy_flexibility_hv_opac_electricity |  | 45
om_costs_co2_ccs |  | 0
wtp_of_energy_heat_flexibility_p2h_heatpump_electricity |  | 45
households_heater_heatpump_air_water_electricity_share | 3.2573 | 20
buildings_lighting_savings_from_motion_detection_light | 35.5 | 95
capacity_of_energy_chp_local_wood_pellets | 32 | 0
costs_hydrogen_transport_compressed_trucks |  | 50.1
industry_useful_demand_for_other_paper_efficiency | 1.6 | 1.7
other_useful_demand_electricity |  | 1
industry_aggregated_other_industry_coal_share | 0 | 0
bio_ethanol_from_beet_sugar_share |  | 9.5
capacity_of_energy_heat_burner_crude_oil |  | 0
households_appliances_clothes_dryer_electricity_efficiency | 20 | 10
industry_useful_demand_for_chemical_refineries_useable_heat_efficiency |  | 0
capacity_of_energy_power_combined_cycle_network_gas | 6550 | 17000
costs_infrastructure_electricity_lv_mv_trafo |  | 200
curtailment_of_buildings_solar_pv_solar_radiation |  | 33
buildings_lighting_efficient_fluorescent_electricity_share | 9.8 | 5
industry_chemicals_fertilizers_steam_methane_reformer_hydrogen_share |  | 0
transport_motorcycles_share | 2.6 | 2.6
industry_chemicals_other_heater_electricity_share |  | 27
capacity_of_energy_chp_ultra_supercritical_coal | 0 | 0
climate_relevant_co2_biomass_solid_future |  | 0
electricity_interconnector_1_import_availability |  | 100
transport_shipping_mixer_lng_bio_lng_share |  | 100
capacity_of_energy_flexibility_hv_opac_electricity |  | 7000
share_of_industry_chemicals_fertilizers_reused_residual_heat |  | 0
transport_road_mixer_lng_lng_share |  | 0
transport_plane_using_bio_ethanol_share |  | 100
energy_mixer_for_gas_power_fuel_bio_oil_share |  | 100
industry_other_paper_heater_electricity_share |  | 40
transport_road_mixer_gasoline_gasoline_share | 93.5 | 0
industry_steel_blastfurnace_bof_share |  | 80
transport_vehicle_using_electricity_efficiency | 1 | 0.2
costs_hydrogen |  | 39
capacity_of_energy_power_nuclear_gen3_uranium_oxide |  | 0
transport_truck_using_gasoline_mix_share |  | 25
wta_of_energy_flexibility_pumped_storage_electricity |  | 50
wtp_of_energy_flexibility_mv_batteries_electricity |  | 45
industry_other_food_burner_hydrogen_share |  | 25
households_solar_pv_solar_radiation_market_penetration | 23 | 40
industry_aluminium_electrolysis_current_electricity_share | 80 | 0
agriculture_burner_crude_oil_share | 1.5 | 0
transport_ship_using_lng_mix_share | 1 | 100
investment_costs_combustion_waste_incinerator |  | 0
transport_freight_train_using_electricity_share |  | 100
industry_useful_demand_for_chemical_other |  | 145.1
investment_costs_wind_onshore |  | -48.8857
buildings_appliances_wood_pellets_share_both |  | 0
transport_car_using_electricity_availability |  | 0
households_detached_houses_share |  | 13.4
transport_car_using_gasoline_mix_share | 78.9295 | 0
transport_car_using_hydrogen_share | 0 | 30
wtp_of_industry_chemicals_refineries_flexibility_p2h_electricity |  | 45
households_flexibility_water_heating_buffer_size_heatpump_ground_water_electricity |  | 5
investment_costs_households_flexibility_p2p_electricity |  | -72
wta_of_transport_car_flexibility_p2p_electricity |  | 50
capacity_of_energy_power_engine_network_gas |  | 0
transport_plane_using_kerosene_share | 100 | 0
costs_wacc_unproven_technologies |  | 3
buildings_useful_demand_for_space_heating |  | 0
electricity_interconnector_6_co2_emissions_present | 0
industry_ccs_in_industry |  | 100
share_of_industry_chemicals_fertilizers_captured_combustion_co2 |  | 0
industry_chemicals_fertilizers_burner_hydrogen_share |  | 100
households_cooling_airconditioning_electricity_share | 70.0296 | 75
settings_satisfy_export_with_dispatchables | 1
capacity_of_energy_power_turbine_hydrogen |  | 0
capacity_of_industry_heat_burner_lignite |  | 0
households_heater_heatpump_ground_water_electricity_share | 3.3179 | 5
buildings_space_heater_district_heating_steam_hot_water_share | 9 | 75
natural_gas_total_share |  | 0
households_flexibility_space_heating_buffer_size_heatpump_ground_water_electricity |  | 0
energy_distribution_greengas_share |  | 100
industry_aggregated_other_industry_wood_pellets_share | 8.8 | 0
costs_infrastructure_electricity_hv_net |  | 364
electricity_interconnector_5_co2_emissions_present | 0
industry_chemicals_fertilizers_burner_coal_share |  | 0
transport_truck_using_hydrogen_share |  | 25
industry_useful_demand_for_other_paper | 128 | 145.1
transport_trucks_share | 50.8
capacity_of_energy_power_combined_cycle_coal |  | 0
households_cooling_heatpump_ground_water_electricity_share | 24.9704 | 5
transport_shipping_mixer_lng_lng_share |  | 0
transport_road_mixer_gasoline_ethanol_share | 6.5 | 100
households_lighting_incandescent_electricity_share | 23.9614 | 0
costs_infrastructure_electricity_lv_net |  | 916
costs_wacc_proven_technologies |  | 3
households_water_heater_solar_thermal_share | 3.8 | 40
households_useful_demand_electric_appliances | 1.2 | 1
transport_bicycle_using_human_power_share | 68.9 | 50
transport_trams_share | 0.5 | 0.6
electricity_interconnector_6_co2_emissions_future | 0
industry_aggregated_other_industry_network_gas_share | 51.7 | 0
industry_chemicals_other_network_gas_non_energetic_share | 7.2 | 0
industry_chemicals_refineries_burner_network_gas_share |  | 0
buildings_space_heater_heatpump_air_water_network_gas_share | 6.9 | 0
co_firing_coal_share |  | 0
industry_other_paper_burner_wood_pellets_share | 9.1 | 0
households_flexibility_water_heating_buffer_size_heatpump_air_water_electricity |  | 5
wta_of_energy_flexibility_hv_opac_electricity |  | 50
capacity_of_energy_chp_ultra_supercritical_cofiring_coal | 0 | 0
om_costs_combustion_waste_incinerator |  | 0
climate_relevant_co2_biomass_gas_future |  | 0
households_cooker_induction_electricity_share | 8.5 | 100
households_flexibility_space_heating_buffer_size_heatpump_air_water_electricity |  | 0
settings_weather_curve_set |  | default
costs_infrastructure_electricity_mv_net |  | 690
transport_shipping_mixer_diesel_lng_share |  | 0
industry_steel_production | 100 | 145.1
capacity_of_energy_flexibility_mv_batteries_electricity |  | 17000
industry_aggregated_other_industry_electricity_share | 25 | 70
transport_passenger_train_using_diesel_mix_share |  | 0
costs_co2_free_allocation | 0 | 0
electricity_interconnector_1_co2_emissions_present | 0 | 0
industry_other_paper_burner_crude_oil_share |  | 0
capacity_of_energy_power_combined_cycle_hydrogen |  | 0
industry_useful_demand_for_chemical_refineries_electricity_efficiency |  | 0
buildings_insulation_level | 51.9 | 52
bio_ethanol_from_cane_sugar_share |  | 11.4
buildings_appliances_crude_oil_share_both |  | 0
flexibility_p2l_co2_reduction_industry |  | 0
transport_ships_share | 42.4
wta_of_households_flexibility_p2p_electricity |  | 50
share_of_industry_chemicals_fertilizers_captured_processes_co2 |  | 0
wta_of_energy_flexibility_mv_batteries_electricity |  | 50
capacity_of_energy_hydrogen_wind_turbine_offshore |  | 0
households_lighting_efficient_fluorescent_electricity_share | 48.5 | 10
transport_bicycle_using_electricity_share | 31.1 | 50
costs_wood |  | 153
bunkers_useful_demand_planes |  | 0
capacity_of_energy_imported_hydrogen_baseload |  | 0
energy_transport_hydrogen_pipelines_share |  | 99
transport_truck_using_lng_mix_share |  | 0
share_of_industry_steel_captured_co2 |  | 100
electricity_interconnector_2_co2_emissions_present | 0
climate_relevant_co2_biomass_solid_present |  | 0
industry_useful_demand_for_chemical_fertilizers |  | 100
capacity_of_energy_chp_local_engine_network_gas | 2624.4 | 0
investment_costs_hydrogen_electrolysis |  | -39
electricity_interconnector_3_co2_emissions_present | 0
agriculture_final_demand_steam_hot_water_share | 50.7 | 0
households_useful_demand_cooking_per_person |  | 0
transport_shipping_mixer_diesel_diesel_share |  | 0
costs_gas | 26 | 14
costs_imported_heat |  | 1
energy_regasification_bio_lng_share |  | 0
capacity_of_energy_power_combined_cycle_ccs_coal |  | 0
costs_infrastructure_electricity_offshore_net |  | 810
share_of_energy_power_ultra_supercritical_ccs_coal |  | 0
agriculture_heatpump_water_water_ts_electricity_share | 13.7 | 50
transport_road_mixer_diesel_diesel_share | 88.5 | 0
costs_biodiesel |  | 1.2
capacity_of_energy_power_nuclear_gen2_uranium_oxide | 484 | 0
transport_shipping_mixer_diesel_heavy_fuel_oil_share |  | 0
households_heat_network_connection_steam_hot_water_share |  | 20
households_behavior_standby_killer_turn_off_appliances | 50 | 50
costs_infrastructure_electricity_interconnector_net |  | 364
industry_final_demand_for_other_food_steam_hot_water_share | 5 | 10
green_gas_total_share |  | 100
climate_relevant_co2_biomass_gas_present |  | 0
bunkers_ship_using_lng_share |  | 100
co2_emissions_of_imported_hydrogen_future | 0 | 0
agriculture_useful_demand_electricity | 1.6 | 3
industry_other_metals_process_electricity_efficiency | 1.6 | 1
buildings_lighting_led_electricity_share | 4.9 | 95
households_number_of_residences | 7900000 | 8800000
households_heater_district_heating_steam_hot_water_share | 6.2138 | 15
transport_car_using_electricity_smart_charging_share |  | 100